{"text_format":"2","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":1,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":29,"n_cols":13,"rows_kept":29,"cut":false,"hidden":false,"merged":[[9,2,9,3],[9,5,9,6],[9,8,9,9],[9,11,9,12]]}
["Chemical Name","n-decane",null,null,null,"Molecular Weight",null,null,142.28]
["Vendor","Sigma-Aldrich",null,null,null,"Chemical Structure"]
["Vendor Part No:",457116]
["Purity","≥ 99%"]
[]
[]
[]
[null,null,"P","K",null,"P","K",null,"P","K",null,"P","K"]
[null,null,"(MPa)","(cm4/m.s2)",null,"(MPa)","(cm4/m.s2)",null,"(MPa)","(cm4/m.s2)",null,"(MPa)","(cm4/m.s2)"]
[null,null,"303 ± 0.1 K",null,null,"323 ± 0.1 K",null,null,"419 ± 0.2 K",null,null,"520 ± 0.2 K"]
[]
[null,null,4.6608172000000003,0.14907281158908361,null,10.2179454,0.15241621103279043,null,9.9999169225754709,6.026227743994262E-2,null,21.214991900000001,6.3302650931399446E-2]
[null,null,10.239914928717281,0.15082758448362027,null,15.306234,0.15578112135618408,null,19.999833845150942,6.0237549259073583E-2,null,29.999750767726411,6.6023955018399388E-2]
[null,null,20.52982944204744,0.15385353511018518,null,25.703441600000001,0.16051593926350663,null,19.994630000000001,6.3002809454883138E-2,null,39.999667690301884,6.9110520837122019E-2]
[null,null,30.659745284616392,0.15760316437973843,null,52.013616800000001,0.17113630581335212,null,29.999750767726411,6.5750986267761935E-2,null,59.999501535452822,7.2921102263646773E-2]
[null,null,51.339573480502466,0.16513229953780592,null,76.200224399999996,0.18042042560620702,null,39.999667690301884,6.849093000856768E-2,null,79.999335380603767,8.1471060138273363E-2]
[null,null,75.489372848522223,0.17399836626943763,null,101.93813950000001,0.19009556801407357,null,59.999501535452822,7.3976637297585371E-2,null,99.999169225754699,8.7635914816872315E-2]
[null,null,101.63915560105708,0.18319559952548323,null,126.2626411,0.2001565289413047,null,79.999335380603767,7.9458630441820749E-2,null,119.99900307090564,9.0548406569079157E-2]
[null,null,125.81895471984456,0.19131679252826861,null,151.38692789999999,0.21229693537223723,null,99.999169225754699,8.3573698116199288E-2,null,139.99883691605658,0.10000219853135341]
[null,null,152.43873356774046,0.20053975894179107,null,171.73318760000001,0.22208842292397263,null,119.99900307090564,9.0421605090155552E-2,null,159.99867076120753,0.1061682993518992]
[null,null,175.18854456659966,0.21471820318558707,null,200.5599283,0.24033902018465322,null,139.99883691605658,9.5907567490415777E-2,null,179.99850460635847,0.10959860918167312]
[null,null,199.86833953151591,0.22656709517109949,null,231.799814,0.26203692681317781,null,159.99867076120753,0.10045839812642168,null,199.9983384515094,0.11802712502959269]
[null,null,238.78801619417968,0.24995640959377569,null,231.799814,0.26186852872755151,null,179.99850460635847,0.10686766803049857]
[{"$nulls":8},199.9983384515094,0.11142050940018855]
[]
[null,null,"K: Calibration Constant"]
[]
["Reference:"]
["In preparation"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}